(COSAR) COLOR SENSING GLOVES WITH AUDIO READ-OUTS FOR VISUALLY IMPAIRED INDIVIDUALS

A Qualitative/Quantitative Research

presented to the Faculty of Limay Senior High School

Duale, Limay, Bataan

In Partial Fulfillment

of the Subject Requirements in

Capstone

Basbas, Larianne Joael D.

De Guzman, Ysha Mae V.

Gracela, Russel Vien A.

Lumantao, Anthony A.

Managaytay, Matt Joseph M.

Visbal, Eugene Kimberly B.

STEM 12 - B

March 2025

I.

APPROVAL SHEET

This research proposal entitled, “(COSAR) COLOR SENSING GLOVES WITH AUDIO READOUTS FOR VISUALLY IMPAIRED INDIVIDUALS” prepared and submitted by, Matt Joseph M. Managaytay , Anthony A. Lumantao, Ysha Mae V. De Guzman, Eugene Kimberly B. Visbal, Russel Vien A. Gracela, Larianne Joael D.  Basbas in partial fulfillment of the requirements for the Senior High School Academic Track, under Science, Technology, Engineering, and Mathematics (STEM) Strand has been examined and recommended for acceptance and recommended and approval for oral examination.

CECILLE B. DELGADO

Research Teacher (Adviser)

Approved by the Practical Research 2 Teacher with a grade of _______ on April, 2025.

NAME OF CHAIR PANELIST

Chairman

NAME OF PANELIST				          NAME OF PANELIST

Critic/Member						      Critic/Member

Accepted in partial fulfillment of the requirements for the Senior High School

| ROWENA V. CABRERA, EdD |  | CECILLE B. DELGADO |
| --- | --- | --- |
| Research Coordinator/Content Evaluator |  | Research and Innovation Coordinator |

| EDITA D. BALLON |  | GINA R. BAGTAS |
| --- | --- | --- |
| Content Evaluator |  | Language Editor |

| SERALDYN P. SAMSON |  | LOUIEGENE DONATO |
| --- | --- | --- |
| School Statistician |  | Originality Checker |

FELISA C. BRAVO, EdD

School Principal

II.

ACKNOWLEDGEMENT

The following people deserve the researchers' sincere gratitude, sincere admiration, and profound recognition for their priceless understanding, unwavering assistance, priceless support, and encouragement in making this study possible:

To Mrs. Rowena V. Cabrera, Capstone Project instructor, her wise counsel, intelligent criticism, and unwavering encouragement have all greatly influenced the direction of this study. We would like to express our sincere gratitude to her for her skill and commitment to teaching, which have had a significant impact on our academic development.

To our parents, who have provided constant love, support, and encouragement during this journey. We are incredibly appreciative of their sacrifices and faith in us, as they have been a continual source of inspiration and the reason for many of our accomplishments.

To STEM 12 Batch 2024–2025, thank you for all the smiles, laughs, and friendships despite the deadlines, stress, and cramming.

Above all, we would like to sincerely thank God for giving us the courage, discernment, and tenacity needed to start this research and see it through to completion. This work would never have been feasible without his heavenly guidance.

And for those who are one way or the different made this research possible, thanks. It is minor matters that count. Thank you and may God bless us all.

III.

ABSTRACT

This study was intended to develop and evaluate the potential of Arduino-Based Color Sensing Gloves with Audio Readouts (COSAR) in enhancing the independence of visually impaired individuals with in navigating their school facilities. It especially aimed to examine the participants' age, sex, and level of visual impairment; the affordability, availability of materials, durability, installation, and efficiency of the product in terms of color recognition accuracy, clear audible feedback, and user comfort.

The study involved 10 visually impaired students from Limay Senior High School ranging Grade 11 and 12 academic track students selected through purposive sampling. A structured questionnaire and observational approaches were used in collecting data in a true-experimental study design. The collected data was analyzed using descriptive statistics and t-tests to determine how efficient the COSAR gloves were to visually impaired individual users. 

The findings presented that COSAR gloves are reliable, durable, and affordable. In addition with its practical color identification accuracy and unambiguous auditory feedback, COSAR enabled participants to navigate school facilities and identify colors. User feedback also indicated that COSAR were also easy to operate and comfortable.

The study comes to the conclusion that the COSAR gloves greatly enhance the independence and spatial awareness of individuals with visual impairments. Regarding long-term accessibility, it recommends investigating further features and doing additional testing with wider participant groups.

IV.

TABLE OF CONTENTS

V.

| PRELIMINARIES |  | Page |
| --- | --- | --- |
| Title Page |  | I |
| Approval Sheet |  | II |
| Acknowledgment |  | III |
| Abstract |  | IV |
| Table of Contents |  | V |
| List of Tables |  | VII |
| List of Figures |  | VIII |
| Chapter 1- INTRODUCTION |  | 1 |
| Background of the Study |  | 1 |
| Statement of the Problem |  | 3 |
| Significance of the Study |  | 4 |
| Scope and Delimitations of the Study Notes in Chapter I |  | 6 11 |
| Chapter II- CONCEPTUAL FRAMEWORK |  | 11 |
| Review of Related Literature and Studies |  | 11 |
| Conceptual Model of the Study Hypothesis Definition of Terms |  | 20 21 22 |
| Notes in Chapter II |  | 25 |
| Chapter III- METHODOLOGY |  | 30 |
| Research Design |  | 30 |
| Methods and Techniques of the Study Materials Methods |  | 30 31 32 |
| Participants of the Study |  | 35 |
| Research Instrument |  | 36 |
| Data Gathering Procedures |  | 37 |
| Statistical Treatment of Data Notes in Chapter III |  | 38 39 |
| Chapter IV- PRESENTATION AND ANALYSIS OF DATA |  | 40 |
| Part I showcases the product's performance in Product Testing in Open spaces. Part II highlights the product's performance in Product Testing in Enclosed spaces. Part III evaluates the difference in the product's performance between product testing in open area and in closed area Part IV outlines the implications of the study. Notes in Chapter IV |  | 41 47 54 56 |
| Chapter V- CONCLUSIONS AND RECOMMENDATIONS Summary of the Findings Conclusions Recommendations |  | 60 60 61 62 |
| Bibliography |  | 64 |
| Appendices |  | 69 |
|  | Title Proposal | 69 |
|  | Questionnaire | 72 |
|  | Researcher’s Profile | 80 |

VI.

LIST OF TABLES

| Table No. | Title | Page |
| --- | --- | --- |

| 1 |  | 41 |
| --- | --- | --- |
| 2 |  | 42 |
| 3 |  | 42 |
| 4 |  | 43 |
| 5 |  | 44 |
| 6 |  | 45 |
| 7 |  | 45 |
| 8 |  | 45 |
| 9 |  | 46 |
| 10 |  | 46 |
| 11 |  | 47 |
| 12 |  | 48 |
| 13 |  | 49 |
| 14 |  | 50 |
| 15 |  | 51 |
| 16 |  | 51 |
| 17 |  | 52 |
| 18 |  | 52 |
| 19 |  | 53 |
| 20 |  | 53 |
| 21 |  | 54 |
| 22 |  | 55 |
| 23 |  | 56 |

VII.

LIST OF FIGURES

| Figure No. | Title | Page |
| --- | --- | --- |
| 1 | Figure 1. Conceptual Framework | 16 |
| 2 | Figure 2. COSAR Gloves: For Visually Impaired individuals with Myopia and Hyperopia | 61 |

VIII.

Chapter I

INTRODUCTION

Background of the Study

Over the course of a person’s life, vision impairment has crucial implications. Vision impairment is a major costly burden in the world as it can affect people of all ages. The leading causes of vision impairment and blindness at a global level are refractive errors, cataract, glaucoma, diabetic retinopathy, and age-related macular degeneration (WHO,2023).

Blindness and visual defects lead to a variety of public health, social, and economic problems, especially in developing countries.

Recent studies have shown that visual disability affects a person’s quality of life by limiting social interactions and independence. Loss of vision affects patients’ ability to work or care for themselves (or others) which affects numerous casual activities such as reading, socializing, and pursuing hobbies (Brown et al., 2014).

The challenge of not being able to see well can affect various tasks that are frequently required for good chronic disease management, including self-care (e.g., foot checks in diabetics, preparing nutritious meals) and transportation (e.g., getting to and from clinic visits). Visually impaired individuals can also have an impact on their oneself It might be mental and emotional well-being that may lead into feelings of frustration, anxiety and depression.

Other difficulties that visually impaired individuals have been experiencing are limited independency, since most involves task that visually impaired people struggle with, making it difficult for them.

Technological advancements have created new opportunities for developing innovative solutions to improve the lives of people with disabilities. Among these innovations, the Arduino platform has emerged as a useful and affordable tool for creating custom electronic devices. Its use in assistive technology shows great results, especially in making devices that are both effective and accessible to a broader population due to their affordability and easy customization.

Recognizing the need for more practical and user-friendly tools, this study aims to develop Arduino-based color sensing gloves with audio feedback. These gloves are designed to detect colors in the environment and immediately provide audio feedback to the user, allowing visually impaired individuals to interpret color information through sound. This approach addresses the lack of current assistive technologies by offering an affordable, easy-to-use solution that provides great assist in various situations.

Despite the availability of several assistive technologies, there is still a significant gap in tools that support the independency of visually impaired individuals. Many existing devices fail to offer the necessary functions for a format that will make daily life more accessible and easier. Developing a new Arduino-based solution presents an opportunity to closer this gap, but it must be carefully designed and evaluated to ensure it meets the needs of those who would benefit from it.

This study aims to explore the potential of creating Arduino-based color sensing gloves with audio readouts for visually impaired individuals.  The study will evaluate how this technology could improve the independence, safety, and quality of life for visually impaired users, while also considering the challenges that may arise during its development and use.

Statement of the Problem

Individuals with visual impairments often face some difficulty in identifying colors and their spatial awareness in school, which can affect their independence and daily living inside and outside school. Existing equipment and instruments can be useful, ack reliability, accessibility, durability, or efficiency. By analyzing the effectiveness of Arduino-Based Color Sensing With Audio Readouts (COSAR) Gloves in enhancing spatial awareness and provide direction to 10 students with visual impairments from Limay Senior High School,  Academic track students in grades 11 and 12.

Specifically, it seeks to investigate the following questions;

1.How may profile of visually impaired participants describe in terms of;

1.1 Age

1.2 Sex

1.3 Type of visual impairment

2. Accessibility of the Arduino-based color sensing gloves with audio readouts in terms of;

2.1 Cost of materials

2.2 Maintenance cost

2.3 Durability of components

3. How effective is Arduino-based color-sensing gloves with audio readouts in terms of;

3.1 Accuracy of color detection

3.2 Clarity of audio feedback

3.3 User comfort and wearability

4. What specification do the color-sensing glove have as far as

4.1 battery life

4.2 range of detectable colors

4.3 compatibility with different lighting conditions

5. The Arduino-based color-sensing gloves with audio readouts demonstrate significant accuracy in color detection, clarity in audio feedback, and durability in their components under varying conditions.

Significance of the Study

This research aims to develop a color-sensing gloves that can accurately detect and interpret colors through auditory feedback, providing visually impaired users with a practical tool for enhanced spatial awareness and independence.

The researchers believe that the findings of this investigation will be beneficial to the following:

Visually impaired individuals.  This study can significantly improve the ability to independently navigate through public places with enhanced color sensor, guiding them in choosing a much more accurate and safe decisions.

Family. This study will lessen the burden and responsibilities that’s been put to the family members. . Knowing that their loved ones have a reliable assistive tool that can help them navigate their surroundings, can provide the family members and caretakers with greater peace of mind.

Caregiver.  This study will ease caregivers' responsibilities by providing a reliable tool that promotes the user's independence, offering caregivers peace of mind.

Healthcare sectors.  This study can greatly improve their quality of life by promoting independence and improving access to healthcare that improves their general well-being for those who are visually impaired.

Technology developers.  The findings in this research can open new possibilities for future developers and innovators in creating more effective assistive tools.

General Public.  This study of color sensor gloves can greatly boost user's confidence and independency while also aiding in everyday navigation tasks and will become better at recognizing and interacting with their surroundings, public spaces become more welcoming and accommodating that makes visually impaired individuals to participate more actively in society.

Community. This study offers the Community a deeper understanding of the significance of assistive tools, specifically the color sensing glove with audio readouts in enhancing independence and improving spatial awareness for visually impaired individuals

Future researchers.   This result of this study can be used as a guide for future innovations.

Scope and Delimitation

This study will utilize quantitative research, specifically true-experimental research. This study will be focused on evaluating the effectiveness of COSAR Gloves, a technology use to enhance the independence of visually impaired individuals through the color sensing and auditory feedback of the COSAR gloves.

This study focuses on selecting 6 grade 11 and 12 academic track students with visual impairments from Limay Senior High School for the school year 2024-2025, utilizing purposive sampling. The research is limited to analyzing demographic factors such as age, sex, and type of visual impairment. Other variables or characteristics outside these parameters are beyond the scope of this study, ensuring a focused examination of the identified profiles within the specified population.

The researcher will assess the impact of COSAR gloves (Color Sensing Gloves with Audio Readouts) on visually impaired students' navigational abilities and spatial awareness within school premises.

The statistical treatment of data will include simple percentage to describe the participants' profiles, and weighted mean to assess the effectiveness of the gloves in terms of user comfort, accuracy of color detection, and clarity of audio feedback. A Likert scale will be used to measure user satisfaction with various features of the gloves, while a T-test will be applied to test for significant differences in the gloves' effectiveness between different groups or conditions.

Additionally, this study solely focuses on visually impaired students from academic track students in Limay Senior High School, batch 2024-2025. Any students that are not within the said program will not be included in this study. This only measures immediate effects of the gloves on navigation and spatial awareness. Long-term effects, potential changes in user experience over time, and impacts on other areas of daily life are not addressed in this research. Lastly, the study is centered on COSAR gloves and does not evaluate other assistive technologies or alternative tools designed for navigation and spatial awareness.

Notes in Chapter 1

World Health Organization.(2023). "Blindness and Visual Impairment".

Brown, G. C., Brown, M. M.,& Chaudry, I. (2015). Medical Student and Patient Perceptions of Quality of life associated with vision loss. Canadian Journal of Ophthalmology, 50(3), 217- 224

Eyecan. (2023). The Visually Impaired: Understanding the Challenges and Opportunities

Anderson, G., & Horvath, J.(2004). The Growing burden of Chronic disease in America. Public Health Reports, 119(3), 223-231

Woon Ju Park and Ione Finde (2023). A unified model for cross-modal plasticity and skill acquisition.

Chapter II

CONCEPTUAL FRAMEWORK

Review of Related Literature and Studies

In Chapter 2, The “Review of Related Literatures and Studies” we analyze the existing knowledge on visually impaired individuals and the role of technology in the independence of visually impaired individuals. This chapter covers the review of related literature, analysis of relevant studies, investigation of relevant theories, demonstration of the conceptual framework, composition of hypotheses, definition of key terms, and the collection of research notes related to (COSAR) Color Sensing Gloves with Audio Readouts for Visually Impaired Individuals . It can be used as a background to provide a better understanding of the area of study while shaping the formulation and assessment of the proposed Arduino-based color-sensing gloves with audio readouts.

Relevant Theories

Cross-Modal Plasticity Theory, first proposed by Paul Bach-y-Rita in 1960s, Which has a significant development on the recent years. A notable development is the “A unified model for cross-modal plasticity and skill acquisition” by Woon Ju Park and Ione Finde (2023). This model suggests that the brain's ability to reorganize itself in response to sensory loss (e.g., blindness or deafness) shares mechanisms with the development of specialized skills like reading or playing musical instruments.

By integrating this model of cross-modal plasticity and skill acquisition, we could explore how users of COSAR Gloves will develop a specialized skills over time, such as improved spatial awareness or better identification of different colors. The brain's plasticity play a key role in the user's ability to adapt to and refine their use of the gloves, potentially making the technology more efficient and effective with practice.

According to Baines, R., Zuliani, F., Chennoufi, N. et al., Affordance as Reinforcement Learning theory (2023) Humans learn to interact with object through trial and error guided by rewards and feedback. When a person tries an action (e.g., pressing a button) and receives positive feedback (e.g., a sound or result), they learn to repeat that action. Conversely, if the action leads to no result or a negative outcome, they adjust their approach.

By integrating this theory, this can help in the development COSAR Gloves by informing how users perceive and interact with the glove, optimizing its usability and functionality. This ensure that COSAR Gloves become more intuitive, efficient, and adaptable for users.

According to , “Multisensory Integration Theory” proposed by Barry E. Stein, Terrence R. Stanford, and Benjamin A. Rowland (2021) Studies how our senses such as sight, touch, taste, smell and  hearing is  interlinked,  enhancing  our   perception of  the  world. This multisensory approach helps us achieve a more detailed and accurate understanding of objects and events, which is crucial for interacting with our environment effectively.

Multisensory Integration Theory focuses on integrating all senses available to visually impaired individuals, enhancing their perception of the world through technologies like COSAR gloves. By leveraging this theory, the gloves provide auditory feedback as an alternative to visual cues, enabling users to better navigate and interact with their surroundings. With this approach, it aims to enhance the overall sensory experience and independence of visually impaired individuals.

Related Literature

Ophthalmology. In the study of Oxford University Press (2020), they explore the 50 landmark studies that have significantly influenced the practice of ophthalmology over the past 40 years. Emphasis has been placed on landmark studies, that changed thinking and practice in the field, rather than studies that are most frequently cited. Most are randomized controlled trials that have helped shape current ophthalmology practice guidelines. with an illustrative clinical case, and includes a reference to the relevant section of the practice guidelines of the American Academy of Ophthalmology.

The Role of Technology in Independence Technology. According to M. Arun Kumar et al. (2022) "Smart Wearable Glove for the Visually Impaired Person as a Third Eye" states that being independent is the ability to have freedom and to live without being controlled by others. But for blind people, simple tasks like walking in a crowd and travelling from one place to another are difficult and challenging.

The third eye helps to overcome difficulties and decrease the challenges faced by blind people in their life. Obstacle detection and warning can increase the protection of blind people, especially in new environments. In this paper, the assistive system for visually challenged people is based on obstacle detection using Arduino Uno, and an Ultrasonic sensor is designed.

Availability of Color Sensing Gloves with Audio Readouts. Based on the findings of Zor, B., Vuruskan, A.  (2024). “Use Of Assistive Technologies For People With Visual Impairment: Smart Glove Design For Clothing Field” explained that the assistive technology is a current area that has the potential to enhance the quality of life for individuals with visual impairment through innovative initiatives. This research involves a comprehensive review of assistive and wearable technology for visually impaired people, covering areas such as mobility, communication, and daily activities. It was observed that existing assistive technologies primarily focus on navigation and communication, with limited research on clothing-related assistive devices. Additionally, existing products often lack aesthetic appeal and functionality due to the high weight and size of technical materials and insufficient integration of electronics into clothing. Therefore, based on the user-centred design approach, the construction of the Smart Glove which involved detailed consideration of user needs, requirements, tasks, limitations, and barriers was carried out in this research. It was developed to address the challenges faced by visually impaired individuals in identifying the color, silhouette, details, and pattern of garments.

Role of Color Sensing Gloves with Audio Readouts to Visually Impaired Individuals. W. Elmannai, et al. (2017) on “Sensor-Based Assistive Devices for Visually-Impaired People: Current Status, Challenges, and Future Directions” states in their literature that there have been several systems designed to support visually-impaired people and to improve the quality of their lives. Unfortunately, most of these systems are limited in their capabilities. In this paper, we present a comparative survey of the wearable and portable assistive devices for visually impaired people to show the progress in assistive technology for this group of people. Thus, the contribution of this literature survey is to discuss in detail the most significant devices that are presented in the literature to assist this population and highlight the improvements, advantages, disadvantages, and accuracy. Our aim is to address and present most of the issues of these systems to pave the way for other researchers to design devices that ensure safety and independent mobility to visually impaired people.

Execution of Color Sensing Gloves with Audio Readouts to Visually Impaired Individuals. According to M. Caeiro-Rodríguez, I. Otero-González, F. A. Mikic-Fonte, M. Llamas-Nistal (2021) on the “A Systematic Review of Commercial Smart Gloves: Current Status and Applications” highlight that color-sensing gloves hold great potential in enhancing the independence of visually impaired individuals. These devices could help identify important environmental cues, such as street signs, store labels, or traffic signals, which are essential for safe navigation in public spaces. Furthermore, such gloves could also assist in recognizing color-coded products in stores, improving accessibility.

Related Studies (Foreign and Local)

In the study of Kuriakose et al. (2022), in his study "Tools and technologies for blind and visually impaired navigation support: a review" had shown that navigation for visually impaired had become an important concern in the research area of assistive technology. Also, the instances in which humanitarian conditions had to be considered in navigation design. Based on their findings, a set of recommendation are also considered in the future design of navigation technologies made mainly for visually impaired individuals. Based on their study, it became clear that the navigation systems proposed for the target users lack some core features that are quite important for independent navigation. The similarities of this study to ours is it helps in navigation for visually impaired had become an important concern in the research area of assistive technology as our research is made usually for visually impaired individuals. This study differs from us due to lacking some core features that may be important in independent navigation.

This study of Shin et al. (2024) in his study "Braille glove design toward interdisciplinary approach for visually impaired people: developing independent sensing design with MXene and embroidery" had shown that their proposed wearable glove, equipped with a high-performance Braille recognition sensor, is designed to enhance the psychological and aesthetic satisfaction of visually impaired individuals. Based on their study, visually impaired people struggle accessibility and navigation assistance in which they proposed a product made just for them. This is important because their study is about technology that they proposed mainly for visually impaired individuals that correlated in our research project.

The similarity of this study is their glove made mostly for navigation assistance that may aid visually impaired individuals. This study differs from us due to Braille recognition sensor that our research project doesn’t have.

In the study of Hersh (2022), in his study "Wearable Tavel Aids for Blind and Partially Sighted People: A Review with a Focus on Design Issues" had shown that the ability to navigate is an important role in everyday lives of an individual in education, work and other aspects of modern life. Visually impaired individuals have many barriers as they can't do some things independently. Despite of technology advancement many researchers had proposed a product made just for them to be independent. This study explains that technology advancement is helpful to Visually impaired individuals as it helps them in being independent on their own and may aid their navigation assistance. This study is related to us as their product is mainly for visually impaired individuals in assistance of navigation and helps them in being independent. Their study differs from us through their wearable travel aid assistive device for disabled people that may be a helpful in some older people.

Conceptual Framework

- Arduino Uno

When the color sensor detects a color the Arduino processes this information and triggers the DFPlayer mini to play a corresponding audio message through the speaker

Arduino-based Color Sensing with Audio Readouts Gloves

Figure 1. Conceptual Framework

Figure 1 Input Process Output is the paradigm of the study.

In the Input stage, prior to starting the project, we identify key components such as color sensors and audio feedback systems, which are essential for building the gloves.

Figure 2 Input Process Output is the paradigm of the study.

In process, there's a step to connect these components, write the necessary code and test the setup.

Figure 3 Input Process Output is the paradigm of the study.

In output it represent the systems functionally, when color sensor detect the color, it prompt the DFPlayer mini to play a corresponding audio.

Research Hypothesis(es)

Null Hypothesis (Ho) : The Arduino-based color-sensing gloves with audio readouts do not demonstrate significant accuracy in color detection, clarity in audio feedback, or durability in their components under varying conditions.

Alternative Hypothesis (Ha) : The Arduino-based color-sensing gloves with audio readouts demonstrate significant accuracy in color detection, clarity in audio feedback, and durability in their components under varying conditions.

Definition of Terms

The following terms are further defined either Operationally or conceptually:

Arduino. A microcontroller that process data from a color sensor(TCS 3200). The Arduino interpreted detected colors and provided audio feedback to differentiate places and objects base on their colors

Color sensing. Process of identifying or detecting colors using RGB(red, green, blue) wavelengths.

Audio readouts. Refers to the process of converting written data into spoken words, either through human voice or synthesize voice.

Visually impaired individuals. People with poor vision or blindness

RGB sensors. A sensor module use to detect wavelength of RGB colors(Red, Green, and Blue)

Wearability. The ability of a garment to withstand prolonged wear .

Assistive technology. Devices, tools, or systems designed to help individuals with disabilities perform tasks more easily and independently.

Spatial awareness. individual's ability to perceive, understand, and interact with their surrounding environment.

Notes in Chapter II

Baines, R., Zuliani, F., Chennoufi, N. et al.,(2023). Affordance as Reinforcement Learning theory.

Barry E. Stein, Terrence R. Stanford, and Benjamin A. Rowland. (2021). Multisensory Integration Theory.

Oxford University Press(2020). Ophthalmology.

M. Arun Kumar et al.(2022). Smart Wearable Glove for the Visually Impaired Person as a Third Eye.

Zor, B., Vuruskan, A. (2024). Use Of Assistive Technologies For People With Visual Impairment: Smart Glove Design For Clothing Field.

W. Elmannai, et al. (2017). Sensor-Based Assistive Devices for Visually-Impaired People: Current Status, Challenges, and Future Directions.

M. Caeiro-Rodríguez, I. Otero-González, F. A. Mikic-Fonte, M. Llamas-Nista. (2021). A Systematic Review of Commercial Smart Cane: Current Status and Applications.

Kuriakose et al. (2022). Tools and technologies for blind and visually impaired navigation support: A Review.

Shin, H., et al. (2024). Braille glove design toward interdisciplinary approach for visually impaired people: developing independent sensing design with MXene and embroidery.

Hersch, M. (2023) Wearable Travel Aids for Blind and Partially Sighted People: A Review with a Focus on Design Issues.

Laman, J. (2023). Color Recognition gloves for color blind automation.

Cornelio, P., et al. (2021). Multisensory Integration Theory. Journal of Sensory Studies, 36(2).

Sweller, J., Ayres, P., & Kalyuga, S. (2019). Cognitive Load Theory.

Chapter III

METHODOLOGY

This chapter details the methods and procedures used by the researchers to gather data essential for advancing the development process. It explains the steps taken to measure progress and identifies the techniques used to determine success. The chapter thoroughly describes the processes and methodologies employed, outlining the technical and procedural aspects crucial for achieving the objectives of “Arduino-Based Color Sensing with Audio Readouts (COSAR) Gloves for Visually Impaired Individuals”.

Research Design

Quantitative research collects data in numerical form, allowing for ranking of categories or measurement in specific units. This data is then used to create graphs and tables that represent raw findings.

Quantitative researchers aim to establish general principles of behaviors and events across different settings or conditions. This type of research tests the validity of hypotheses or theories, helping to determine whether they should be accepted or rejected based on accuracy and relevance.

Descriptive statistics will be used to quantify the demographic profile of the respondents in terms of age, sex, and type of visual impairment; to describe the acceptability of the study in terms of availability of materials, accessibility , durability, reliability, and efficiency; and to determine how the results would be affected by the accuracy of its detection ability, clarity of audio feedback, and reliability of its identification feature.

The results will be tallied, analyzed, and interpreted to ascertain that the COSAR gloves will be accepted by the teachers and student participants of Limay Senior High School in the School Year 2024-2025.

Methods and Techniques of the Study

- Materials

1. For the fabrication of the product, the following materials were used:

a. Preparation of the electronics unit: Arduino Uno (1), TCS3200 color sensor (1), DFPlayer Mini MP3 player module (1), Small Speaker(1), Small rechargeable battery pack(1), Assorted jumper wires and connector, On/off  switch(1), and Assorted resistors

b. Preparation of the wearable units: Glove suitable for integrating sensors and electronics (1), Velcro Straps for protection cover and secure mounting, and Small protective casing for electronics (1) C. Assembling the product: Breadboard (1), Soldering iron and soldering lead for making secure connections, and Mini drill for creating holes in the strap or glove if necessary(1)

2. The following items were gathered to test the product:

a. Color detection accuracy: A set of colored objects and Color calibration cards for ensuring sensor accuracy

b. User feedback and ergonomics: Survey/questionnaire to gather feedback from users (1) and Focus group session with potential users (1)

- Methods

- Materials were gathered.

- Fabrication of the electronics unit:

    - The Arduino Uno, TCS3200 color sensor, DFPlayer Mini MP3 player

module, and other electronic components were sourced from an online market. Additional materials like the protective casing and jumper wires were sourced from local suppliers.

    - Protective gloves were worn during the soldering process to ensure safety.

    - The TCS3200 color sensor, and Mini DFPlayer were connected to the Arduino

Uno using jumper wires.

    - The ground and VCC (5V) pins of all components were attached to the Arduino’s ground and 5V pins.

    - The components were integrated into the glove using hot glue and Velcro straps    for secure placement.

    - The electronic connections were insulated and secured with electrical tape.

- Code Implementation:

  - Code was written to process color sensor data and trigger corresponding audio cues through the DFPlayer Mini.

  - The vibration motors were programmed to provide haptic feedback based on the detected color.

- Assembling the product:

  - The glove was customized with cutouts for the sensors and other components, ensuring a comfortable fit.

  - The components were securely mounted and enclosed using the. protective casing.

- Testing the Range of the Color Sensor:

a. The gloves were prepared.

b. The color sensor was set up.

c. The gloves were held 2.0 to 1.5 inches away from the designated color in each facility.

d. The Audio Readouts identified the assigned color for each facility.

- Gathering user feedback:

  - A survey/questionnaire was administered to gather feedback on the usability and effectiveness of the glove.

  - A focus group session was conducted with potential users to discuss their experiences and suggestions.

  - Performance: Analyze the sensor accuracy, response time, and user feedback.

  - Challenges and Improvements: Discuss any challenges faced during the development and potential improvements.

Participants of the Study

The research study of Color Sensing with Audio Readouts was participated by 6 visually impaired individuals from grade 11 and grade 12 academic track students of the school year of 2024-2025. The participants were selected by using the Purposive Sampling. The participants were the most accessible to researchers.

| Types of visual impairments | Frequency | Percentage |
| --- | --- | --- |
| MYOPIA (nearsighted) | 3 | 50.00% |
| HYPEROPIA (farsighted) | 3 | 50.00% |
| Total | 6 | 100.00% |

Research Instrument

In this study, the researcher will be using a well-structured questionnaire to assess the acceptability of the product in terms of affordability, availability of materials, durability, installation, and efficiency of the product. The questionnaire is a set of orderly arranged questions carefully prepared to answer by a group of people designed to collect facts and information.

The first part of the questionnaire consists of general direction in using the product in terms of affordability, materials availability, durability, installation and efficiency. The second part of the questionnaire contains the personal information of the respondent that must be answer. Tables are used in the survey questionnaires to specify the respondents’ level of agreement with the statement.

Part l contains the general directions and information about the product

Part II presents personal information of the respondents

Part III is divided into five evaluation checklists for the different criteria namely affordability, availability, durability, installation, and efficiency.

The researchers used a coding type of questionnaire in gathering information that are needed in conducting the study. Below are the five-point scale used in determining the responses of the respondents in each items:

RATING                                                     DESCRIPTIVE EQUIVALENT

5                                                                            Strongly Agree

4                                                                                   Agree

3                                                                         Could be Improve

- Disagree

1                                                                           Strongly Disagree

Each criterion was evaluated with agreement and disagreement of the respondents. The whole evaluation checklist has a corresponding descriptive rating that are Strongly Agree, Agree, could be Improve, Disagree, Strongly Disagree, for the analysis and interpretation of gathered results.

Construction and Validation of the Instruments

- GENERAL USE

The researchers are in the process of completing basic research entitled: Arduino-Based Color Sensing with Audio Readouts (COSAR) Gloves for Visually Impaired Individuals. This study aims to determine the acceptability of the product in terms of availability of materials, accessibility, reliability, durability, and efficiency.

In line with our research, we have adapted and utilized a questionnaire to collect essential data. Your participation in completing the questionnaire is highly valuable to the success of this study. We assure you that your responses will remain anonymous, and all information gathered will be treated with the utmost confidentiality. Thank you for your support and contribution

- PROFILE OF THE RESPONDENTS

Direction: Fill the spaces with your personal information

(THE PARTICIPANTS/RESPONDENTS MAY REQUEST ASSISTANCE FROM THE STAFF)

Name: ______________________________________. (Optional)

Age: ____. (Please specify)

Sex: ____ Male.   ____ Female.            Grade level: ______.

Type of visual impairment:

|  | MYOPIA (nearsighted) |  | HYPEROPIA (farsighted) |
| --- | --- | --- | --- |

Others (please specify): ____________________

- QUESTIONNAIRE ITEMS

Direction: Read the statements carefully and put a check (✓) on the column that corresponds to your answer (answer honestly)

ㅤㅤㅤㅤㅤㅤㅤRATINGSㅤㅤㅤㅤㅤㅤㅤㅤ ㅤ DESCRIPTIVE EQUIVALENT

ㅤㅤㅤㅤㅤㅤㅤㅤ    5ㅤㅤㅤㅤㅤㅤㅤㅤㅤ                             Very Agree

ㅤㅤㅤㅤㅤㅤㅤㅤ   4ㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤ         Agree

ㅤㅤㅤㅤㅤㅤㅤㅤ    3ㅤㅤㅤㅤㅤㅤㅤㅤㅤ                   ㅤ Needs improvement

ㅤㅤ ㅤ ㅤ ㅤㅤ ㅤ    2ㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤ    ㅤ         Disagreeㅤ

ㅤㅤㅤㅤㅤㅤ ㅤ ㅤ 1ㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤ       Very Disagree

Data Gathering Procedures

The data gathering process for this study will have three main steps. First, a pre-test survey and short interviews will be done to collect basic information like the age, sex, and type of visual impairment of the 6 selected students from grade 11 and grade 12 Academic Track of Limay Senior High School, school year 2024-2025. This will also help us understand their experience with current assistive tools. In the second step, the students will use the COSAR gloves in a controlled environment to test how well the gloves can detect colors. We will observe how accurate the gloves are, how reliable and efficient is it, and how durable the COSAR gloves. Afterward, a post test survey and final interviews will gather feedback from the students about their experience with the gloves.

All data will be stored securely, with the survey results entered a spreadsheet and the interview responses written down for further review. Ethical guidelines will be followed to protect the participants privacy, and their consent will be obtained before the study. This process will help us learn how useful the COSAR gloves are in helping visually impaired students become more independent.

Notes in Chapter III

Chapter IV

PRESENTATION AND ANALYSIS OF DATA

Chapter IV reveals the outcomes of the data analysis and interpretation related to the research of "Color Sensing Gloves with Audio Readouts (COSAR) for Visually Impaired Individuals." The aim of this study is to develop and evaluate a wearable aid that enhances accessibility by providing real-time auditory feedback for color recognition.

This chapter covers all the researchers' assessments and investigates to figure out the accuracy, effectiveness, and efficacy of the COSAR gloves. The primary target is to create effective and simple assistive gloves that uses an Arduino-powered color sensor and a high volume auditory readout system to help visually impaired persons identify colors.

To ensure Structured and Detailed presentation of the results, this chapter has been divided into a four sections that correspond to the particular research concern that has been identified in first chapter of this research. These sections carefully evaluate the efficiency, accessibility, reliability, and disadvantages of the COSAR gloves using experimental results and user feedback.

Part I Presents the demographic profile of the participants.
Part II Explores the accessibility of COSAR Gloves for visually impaired individuals.
Part III Examines the efficiency of COSAR Gloves in practical use.
Part IV Discusses the durability and long-term reliability of COSAR Gloves.

Part I. Profile of visually impaired participants

| Participant | Age of participants |  |
| --- | --- | --- |
|  | 17 and below (1) | 18 and above (2) |
| 1 | / |  |
| 2 | / |  |
| 3 |  | / |
| 4 |  | / |
| 5 | / |  |
| 6 |  | / |

Table 1.1 Results in the profiling of participants in age

Criteria :

17 years old and below (1): If the participant is 17 yrs old.

18 years old and above (2): If the participant is 18 yrs old

According to the Table 1.1 shown above, the participants are classified by age. The response 17yrs old(1) received 3 votes, totaling 50%, while 18yrs old(2) received 3 Votes, totaling 50%. Thus, there are a total of 6 participants, with 50% 17 yrs old and 50% 18 yrs old.

| Participant | Sex of Participant |  |
| --- | --- | --- |
|  | Male (1) | Female (2) |
| 1 |  | / |
| 2 | / |  |
| 3 |  | / |
| 4 | / |  |
| 5 | / |  |
| 6 |  | / |

Table 1.2 Results in the profiling of participants in sex

Criteria :

Male (1): If the participant is a male.

Female (2): If the participant is a female.

According to the Table 1.2 shown above, the participants are classified by gender. The response male(1) received 3 votes, totaling 50%, while female(2) received 3 votes, totaling 50%t. Thus, there are a total of 6 participants with 50% male and 50% female participants.

| Participant | Type of visual impairments |  |
| --- | --- | --- |
|  | Myopia (1) | Hyperopia (2) |
| 1 | / |  |
| 2 |  | / |
| 3 |  | / |
| 4 | / |  |
| 5 | / |  |
| 6 |  | / |

Table 1.3 Results in the profiling of participants in type of visual impairment

Criteria :

Myopia (1): If the participant is near sighted or diagnosed with myopia.

Hyperopia (2): If the participant is far sighted or diagnosed with hyperopia.

According to table no 1.3 shown above, the participants are classified by the type of their visual impairment. The response myopia received 3 votes, totaling 50%, while hyperopia received 3 votes, totaling to 50%. Thus, 50% of the participants are diagnosed with myopia while the other 50% are diagnosed with hyperopia.

Part II A. Accessibility of the Arduino-based color sensing gloves with audio readouts

| Participant | Is the cost of materials affordable? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 |  | / |
| 2 |  | / |
| 3 | / |  |

Table 2.1 Results in the accessibility of COSAR Gloves for visually impaired individuals with myopia in cost of materials

Criteria :

Yes : If the cost of materials is affordable.
No : If the cost of materials is not affordable.

Based on the data given above, in terms of accessibility of materials used on COSAR gloves shows whether it is affordable or not. The response "Yes" in the product shows that only one participants agree that the COSAR gloves is affordable totaling 33.33%, However two out of three participants voted "No" resulting in total of 66.66%. Therefore, a total of 66.66% of participants disagreed that the Arduino-based color sensing gloves with audio readouts is not affordable.

| Participant | Is the maintenance cost low? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 | / |  |
| 2 | / |  |
| 3 |  | / |

Table 2.2 Results in the accessibility of COSAR Gloves for visually impaired individuals with myopia in maintenance cost

Criteria :

Yes : If the maintenance cost of COSAR gloves is low
No : If the maintenance cost of COSAR gloves is high.

Based on the data above, three participants were to determine if the maintenance that is used in the COSAR gloves is high or low. The response "No" in the product shows that only tone participants respond that the COSAR gloves maintenance is high, totaling 33.33%. However, two out of three participants voted "Yes" resulting in total of 66.66%. Therefore, 66.66% of participants agreed that the Arduino-based color sensing gloves with audio readouts in terms of maintenance cost is low.

| Participant | Are the components durable? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 | / |  |
| 2 |  | / |
| 3 | / |  |

Table 2.3 Results in the accessibility of COSAR Gloves for visually impaired individuals with myopia in durability of components

Criteria :

Yes : If the components of COSAR gloves is durable.
No : If the components of COSAR gloves is not durable.

Based on the data above, three participants were to assess in terms of accessibility of COSAR Gloves for visually impaired individuals in durability of its components. The response "No" in the product shows that only one participants respond that the components of COSAR gloves is not durable, totaling a 33.33%. However, two out of three participants voted "Yes" resulting a total of 66.66%. Therefore, 66.66% of participants agreed that the components of Arduino-based color sensing gloves with audio readouts in terms of accessibility of materials is durable.

Part III B. Efficiency of COSAR Gloves

| Participant | Is the color detection accurate? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 | / |  |
| 2 |  | / |
| 3 | / |  |

Table 2.4 Results in efficiency of COSAR Gloves for visually impaired individuals with myopia in accuracy of color detection

Criteria :

Yes : if the color detection from COSAR is clear.
No : if the color detection from COSAR is not clear.

According to the data above, the COSAR Gloves ability to detect colors was tested among three participants. Out of the six trials, two participants marked “Yes” indicating that the color detection was accurate in 66.66% of the cases. However, one participants marked “No” showing a 33.33% inaccuracy rate.

| Participant | Is the audio feedback clear? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 | / |  |
| 2 | / |  |
| 3 |  | / |

Table 2.5 Results in efficiency of COSAR Gloves for visually impaired individuals with myopia clarity of audio feedback

Criteria :

Yes : If the audio feedback from the COSAR Gloves is clear and understandable.
No : If the audio feedback is unclear or difficult to understand.

Based on the data above, the clarity of the audio feedback from the COSAR Gloves was evaluated by six participants. Three participants responded “Yes” indicating that the audio feedback was clear in 66.66% of the trials. However, one participants responded “No” suggesting that in 33.33% of the cases, the audio feedback was unclear or difficult to interpret.

| Participant | Is the device comfortable and wearable for users? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 | / |  |
| 2 | / |  |
| 3 |  | / |

Table 2.6 Results in efficiency of COSAR Gloves for visually impaired individuals with myopia in comfort and wearability

Criteria :

Yes : If the COSAR Gloves are comfortable and easy to wear for the user.
No : If the COSAR Gloves feel uncomfortable or are difficult to wear.

According to the data above, six participants tested the comfort and wearability of the COSAR Gloves. Two participants responded “Yes” indicating that the gloves were comfortable and wearable in 66.66% of the trials. However, one participants responded “No” meaning 33.33% of the users found the gloves uncomfortable or difficult to wear.

Part IV A. Durability of COSAR Gloves

| Participant | Does it have a long battery life? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 | / |  |
| 2 |  | / |
| 3 |  | / |

Table 2.7 Results in durability of COSAR Gloves for visually impaired individuals with myopia  in battery life

Criteria :

Yes: If the COSAR gloves can withstand long-term use.

No: If the COSAR gloves can't withstand long-term use.

According to the data shown in Table 4.1, COSAR gloves have a long battery life and can withstand long-term use. The response "No" received two responses, totaling 66.66%, while only one participants responded with "Yes," totaling 33.33%. Therefore, only 33.33% of the participants agree that COSAR gloves have a long battery lifespan and can withstand long-term use.

| Participant | Does it detect a wide range of colors? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 | / |  |
| 2 | / |  |
| 3 |  | / |

Table 2.8 Results in durability of COSAR Gloves for visually impaired individuals with myopia in range of detectable colors

Criteria :

Yes: If the COSAR gloves can accurately detect wide range of colors.

No: If the COSAR gloves can't accurately detect wide range of colors.

According to Table 4.2, the COSAR gloves were marginally effective in accurately detecting and identifying a wide range of colors. The response "No" received one vote, totaling 33.33%, while two participants responded with "Yes," totaling 66.66%. Therefore, 66.66% of the participants agreed that the COSAR gloves can accurately detect and identify a wide variety of colors.

| Participant | Is it compatible with different lighting conditions? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 |  | / |
| 2 |  | / |
| 3 | / |  |

Table 2.9 Results in durability of COSAR Gloves for visually impaired individuals with myopia in compatibility with different lighting conditions

Criteria :

Yes: If it’s not affected by different lighting.

No: If its affected by different lighting.

According to Table 4.3, the COSAR gloves were marginally effective in being compatible with different lighting conditions. The response "No" received two votes, totaling 66.66%, while one participants responded with "Yes," totaling 33.33%. Therefore, 33.33% of the participants agreed that COSAR gloves are compatible and not affected by different lighting conditions.

| Efficiency of Navigation |  |  |
| --- | --- | --- |
| Answer | Frequency | Percentage |
| Yes | 3 | 100.00% |
| No | 0 | 00.00% |
| Total | 3 | 100.00% |

Table 2.10 Percentage and Frequency report in Efficiency of Navigation for visually impaired individuals with myopia

In Table 5.1, the effectiveness of the COSAR Gloves in efficiency of navigation during testing of a visually impaired individuals is 100.00% successful. It implies that the product experiences a minimal to average number of problems during the product testing.

| Effectiveness of Heat Protector |  |  |
| --- | --- | --- |
| Answer | Frequency | Percentage |
| Yes | 1 | 33.33% |
| No | 2 | 66.66% |
| Total | 3 | 100.00% |

Table 2.11 Percentage and Frequency report in Effectiveness of Heat Protector for visually impaired individuals with myopia

In Table 6.1, the effectiveness of the COSAR Gloves in heat protection during testing of a visually impaired individuals is 66.66% successful. It implies that the product experiences a minimal to average number of problems during the product testing.

| Functionality of Color Sensor |  |  |
| --- | --- | --- |
| Answer | Frequency | Percentage |
| Yes | 2 | 66.66% |
| No | 1 | 33.33% |
| Total | 3 | 100.00% |

Table 2.12 Percentage and Frequency report in Functionality of Color Sensor for visually impaired individuals with myopia

In Table 7.1, the effectiveness of the COSAR Gloves in functionality of color sensor during testing of a visually impaired individuals is 66.66% successful. It implies that the product experiences a minimal to average number of problems during the product testing.

| Audibility of Audio Feedback |  |  |
| --- | --- | --- |
| Answer | Frequency | Percentage |
| Yes | 3 | 100.00% |
| No | 0 | 00.00% |
| Total | 3 | 100.00% |

Table 2.13 Percentage and Frequency report in Audibility of Audio Feedback   for visually impaired individuals with myopia

In Table 8.1, the effectiveness of the COSAR Gloves in audibility of audio feedback during testing of a visually impaired individuals is 100.00% successful. It implies that the product experiences a minimal to average number of problems during the product testing.

| Variables | Yes | No |
| --- | --- | --- |
| Efficiency of Navigation | 3 | 0 |
| Effectiveness of Heat Protector | 1 | 2 |
| Functionality of Color Sensor | 2 | 1 |
| Audibility of Audio Feedback | 3 | 0 |
| Total | 9 | 3 |
| Mean | 2.25 | 0.75 |

Table 2.14 Mean results from the COSAR Gloves Effectiveness during testing to a visually impaired individuals for visually impaired individuals with myopia

In Table 9.1, the mean results are tabulated to show the average effectiveness of the system during operation in an open space. In four trials for each visually impaired individuals with myopia condition, the mean number of total "Yes" responses (indicating that the COSAR Gloves did not function properly during the testing of a visually impaired individual) is 2.25, while the mean number of total "No" responses (indicating that the COSAR Gloves did not function properly during the testing of a visually impaired individual) is 0.75.

This states that the COSAR Gloves performed highly effectively in nearly all trials, with minimal errors. The results indicate that the COSAR Gloves is well-calibrated for real-world use, as most testing consistently met the expected accuracy and functionality of COSAR Gloves. The low number of misreading suggests only minor inconsistencies in certain aspects, such as color recognition under varying lighting conditions and the clarity of the audio output.

| Participant | Is the cost of materials affordable? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 |  | / |
| 2 |  | / |
| 3 | / |  |

Table 3.1 Results in the accessibility of COSAR Gloves for visually impaired individuals with hyperopia in cost of materials

Criteria :

Yes : If the cost of materials is affordable.
No : If the cost of materials is not affordable.

Based on the data given above, in terms of accessibility of materials used on COSAR gloves shows whether it is affordable or not. The response "Yes" in the product shows that only one participants agree that the COSAR gloves is affordable totaling 33.33%, However two out of three participants voted "No" resulting in total of 66.66%. Therefore, a total of 66.66% of participants disagreed that the Arduino-based color sensing gloves with audio readouts is not affordable.

| Participant | Is the maintenance cost low? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 | / |  |
| 2 |  | / |
| 3 |  | / |

Table 3.2 Results in the accessibility of COSAR Gloves for visually impaired individuals with hyperopia in maintenance cost

Criteria :

Yes : If the maintenance cost of COSAR gloves is low
No : If the maintenance cost of COSAR gloves is high.

Based on the data above, three participants were to determine if the maintenance that is used in the COSAR gloves is high or low. The response "No" in the product shows that two participants respond that the COSAR gloves maintenance is high, totaling 66.66%. However, two out of three participants voted "Yes" resulting in total of 33.33%. Therefore, 33.33% of participants agreed that the Arduino-based color sensing gloves with audio readouts in terms of maintenance cost is low.

| Participant | Are the components durable? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 | / |  |
| 2 |  | / |
| 3 | / |  |

Table 3.3 Results in the accessibility of COSAR Gloves for visually impaired individuals with hyperopia in durability of components

Criteria :

Yes : If the components of COSAR gloves is durable.
No : If the components of COSAR gloves is not durable.

Based on the data above, three participants were to assess in terms of accessibility of COSAR Gloves for visually impaired individuals in durability of its components. The response "No" in the product shows that only one participants respond that the components of COSAR gloves is not durable, totaling a 33.33%. However, two out of three participants voted "Yes" resulting a total of 66.66%. Therefore, 66.66% of participants agreed that the components of Arduino-based color sensing gloves with audio readouts in terms of accessibility of materials is durable.

Part III. Efficiency of COSAR Gloves

| Participant | Is the color detection accurate? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 | / |  |
| 2 |  | / |
| 3 | / |  |

Table 3.4 Results in efficiency of COSAR Gloves for visually impaired individuals with hyperopia in accuracy of color detection

Criteria :

Yes : if the color detection from COSAR is clear.
No : if the color detection from COSAR is not clear.

According to the data above, the COSAR Gloves ability to detect colors was tested among three participants. Out of the six trials, two participants marked “Yes” indicating that the color detection was accurate in 66.66% of the cases. However, one participants marked “No” showing a 33.33% inaccuracy rate.

| Participant | Is the audio feedback clear? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 | / |  |
| 2 |  | / |
| 3 | / |  |

Table 3.5 Results in efficiency of COSAR Gloves for visually impaired individuals with hyperopia clarity of audio feedback

Criteria :

Yes : If the audio feedback from the COSAR Gloves is clear and understandable.
No : If the audio feedback is unclear or difficult to understand.

Based on the data above, the clarity of the audio feedback from the COSAR Gloves was evaluated by six participants. Three participants responded “Yes” indicating that the audio feedback was clear in 66.66% of the trials. However, one participants responded “No” suggesting that in 33.33% of the cases, the audio feedback was unclear or difficult to interpret.

| Participant | Is the device comfortable and wearable for users? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 |  | / |
| 2 | / |  |
| 3 | / |  |

Table 3.6 Results in efficiency of COSAR Gloves for visually impaired individuals with hyperopia in comfort and wearability

Criteria :

Yes : If the COSAR Gloves are comfortable and easy to wear for the user.
No : If the COSAR Gloves feel uncomfortable or are difficult to wear.

According to the data above, six participants tested the comfort and wearability of the COSAR Gloves. Two participants responded “Yes” indicating that the gloves were comfortable and wearable in 66.66% of the trials. However, one participants responded “No” meaning 33.33% of the users found the gloves uncomfortable or difficult to wear.

Part IV. Durability of COSAR Gloves

| Participant | Does it have a long battery life? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 |  | / |
| 2 |  | / |
| 3 | / |  |

Table 3.7 Results in durability of COSAR Gloves for visually impaired individuals with hyperopia  in battery life

Criteria :

Yes: If the COSAR gloves can withstand long-term use.

No: If the COSAR gloves can't withstand long-term use.

According to the data shown in Table 4.1, COSAR gloves have a long battery life and can withstand long-term use. The response "No" received two responses, totaling 66.66%, while only one participants responded with "Yes," totaling 33.33%. Therefore, only 33.33% of the participants agree that COSAR gloves have a long battery lifespan and can withstand long-term use.

| Participant | Does it detect a wide range of colors? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 | / |  |
| 2 | / |  |
| 3 | / |  |

Table 3.8 Results in durability of COSAR Gloves for visually impaired individuals with hyperopia in range of detectable colors

Criteria :

Yes: If the COSAR gloves can accurately detect wide range of colors.

No: If the COSAR gloves can't accurately detect wide range of colors.

According to Table 4.2, the COSAR gloves were marginally effective in accurately detecting and identifying a wide range of colors. The response "No" received no vote, totaling 00.00%, while two participants responded with "Yes," totaling 100.00%. Therefore, 100.00% of the participants agreed that the COSAR gloves can accurately detect and identify a wide variety of colors.

| Participant | Is it compatible with different lighting conditions? |  |
| --- | --- | --- |
|  | Yes | No |
| 1 |  | / |
| 2 | / |  |
| 3 |  | / |

Table 3.9 Results in durability of COSAR Gloves for visually impaired individuals with hyperopia in compatibility with different lighting conditions

Criteria :

Yes: If it’s not affected by different lighting.

No: If its affected by different lighting.

According to Table 4.3, the COSAR gloves were marginally effective in being compatible with different lighting conditions. The response "No" received two votes, totaling 66.66%, while one participants responded with "Yes," totaling 33.33%. Therefore, 33.33% of the participants agreed that COSAR gloves are compatible and not affected by different lighting conditions.

| Efficiency of Navigation |  |  |
| --- | --- | --- |
| Answer | Frequency | Percentage |
| Yes | 3 | 100.00% |
| No | 0 | 00.00% |
| Total | 3 | 100.00% |

Table 3.10 Percentage and Frequency report in Efficiency of Navigation for visually impaired individuals with hyperopia

In Table 5.1, the effectiveness of the COSAR Gloves in efficiency of navigation during testing of a visually impaired individuals is 100.00% successful. It implies that the product experiences a minimal to average number of problems during the product testing.

| Effectiveness of Heat Protector |  |  |
| --- | --- | --- |
| Answer | Frequency | Percentage |
| Yes | 1 | 33.33% |
| No | 2 | 66.66% |
| Total | 3 | 100.00% |

Table 3.11 Percentage and Frequency report in Effectiveness of Heat Protector for visually impaired individuals with hyperopia

In Table 6.1, the effectiveness of the COSAR Gloves in heat protection during testing of a visually impaired individuals is 66.66% successful. It implies that the product experiences a minimal to average number of problems during the product testing.

| Functionality of Color Sensor |  |  |
| --- | --- | --- |
| Answer | Frequency | Percentage |
| Yes | 1 | 33.33% |
| No | 2 | 66.66% |
| Total | 3 | 100.00% |

Table 3.12 Percentage and Frequency report in Functionality of Color Sensor for visually impaired individuals with hyperopia

In Table 7.1, the effectiveness of the COSAR Gloves in functionality of color sensor during testing of a visually impaired individuals is 66.66% successful. It implies that the product experiences a minimal to average number of problems during the product testing.

| Audibility of Audio Feedback |  |  |
| --- | --- | --- |
| Answer | Frequency | Percentage |
| Yes | 3 | 100.00% |
| No | 0 | 00.00% |
| Total | 3 | 100.00% |

Table 3.13 Percentage and Frequency report in Audibility of Audio Feedback   for visually impaired individuals with hyperopia

In Table 8.1, the effectiveness of the COSAR Gloves in audibility of audio feedback during testing of a visually impaired individuals is 100.00% successful. It implies that the product experiences a minimal to average number of problems during the product testing.

| Variables | Yes | No |
| --- | --- | --- |
| Efficiency of Navigation | 3 | 0 |
| Effectiveness of Heat Protector | 1 | 2 |
| Functionality of Color Sensor | 1 | 2 |
| Audibility of Audio Feedback | 3 | 0 |
| Total | 8 | 4 |
| Mean | 2.0 | 0.8 |

Table 3.14 Mean results from the COSAR Gloves Effectiveness during testing to a visually impaired individuals with hyperopia

In Table 9.1, the mean results are tabulated to show the average effectiveness of the system during operation in an open space. In four trials for each visually impaired individuals with myopia condition, the mean number of total "Yes" responses (indicating that the COSAR Gloves did not function properly during the testing of a visually impaired individual) is 2.0, while the mean number of total "No" responses (indicating that the COSAR Gloves did not function properly during the testing of a visually impaired individual) is 0.8.

This states that the COSAR Gloves performed highly effectively in nearly all trials, with minimal errors. The results indicate that the COSAR Gloves is well-calibrated for real-world use, as most testing consistently met the expected accuracy and functionality of COSAR Gloves. The low number of misreading suggests only minor inconsistencies in certain aspects, such as color recognition under varying lighting conditions and the clarity of the audio output. However, overall, the device demonstrates a strong level of reliability and usability, making it a practical tool for visually impaired individuals in different environments.

| Variables | Myopia | Hyperopia |
| --- | --- | --- |
| Efficiency of Navigation | 3 | 3 |
| Effectiveness of Heat Protector | 2 | 2 |
| Functionality of Color Sensor | 2 | 1 |
| Audibility of Audio Feedback | 3 | 3 |
| Total | 10 | 9 |
| Mean | 2.50 | 2.25 |

Table 5. Comparative Assessment between COSAR Glove’s Effectiveness to Visually Impaired Individuals with hyperopia

In Table 5, all the results in the testing process on trials conducted to visually impaired individuals with myopia and hyperopia are compared to analyze if there is a significant difference between the effectiveness of the product in these two types of visual impairments. The table implies that the numbers in almost every results increase in trials conducted in enclosed spaces.

Figure 2. COSAR Gloves: For Visually Impaired individuals with Myopia and Hyperopia

In Figure 2, the results from table 5 are visualized using a graph to simply show the results of trials. The figure also implies that there is a significant difference between the performance of the product when used in open space and enclosed space.

|  | Mean | Mean Difference | t-value | p-value | Discussion on Ho |
| --- | --- | --- | --- | --- | --- |
| Visually Impaired individuals with Myopia | 2.50 | 0.25 | 2.35336 | 0.03910 | Reject Null Hypothesis |
| Visually Impaired individuals with Hyperopia | 2.25 |  |  |  |  |

The results show a comparison between visually impaired individuals with myopia and hyperopia based on their respective mean values. The mean for individuals with myopia is 2.50, whereas the mean for individuals with hyperopia is 2.25. The computed mean difference is 0.25, and the calculated t-value is 2.353363. A p-value of 0.03910 was obtained, which is less than the significance level (0.05). Since the p-value < 0.05, we reject the null hypothesis. This suggests that there is statistically significant difference between the two groups in terms of their mean values. Therefore, the alternative hypothesis is supported in this case.

Notes in Chapter IV

Chapter V

SUMMARY OF FINDINGS, CONCLUSIONS AND RECOMMENDATIONS

Summary of Findings

Conclusions

In this study the development and effectiveness of the Arduino-Based Color Sensing Gloves with Audio Readouts (COSAR) as a visual impairment assistive device were examined in this study. Through the use of aural input, the gloves were created to aid users in recognizing colors, enhancing their capacity to navigate around the school and engage with their environment on their own.

The findings confirmed that the COSAR were very handy and simple to use. The tool was convenient to wear, accurately recognized colors, and gave audible feedbacks that were easy to follow. The gloves were relatively easy for the participants to use, indicating their potential as a useful tool for everyday life inside school. In addition, COSAR is a sustainable and easily accessible solution for people with visual impairments because to the materials cost and a long life.

The study's overall findings supported the concept that advancements in technology can substantially enhance the independence and accessibility of individuals with visual impairments. The COSAR gloves provide a reliable, affordable, and effective way of assisting users in recognizing colors and navigate school facilities, which can boost their self-confidence and ability to navigate through a variety of instances.

Researchers could possibly think about adding more assisting features, extending the gloves' battery life, and enhancing sensitivity in various lighting conditions as possible further enhancements. Additional research with greater numbers of participants may also assist improve the tool and increase its effectiveness.

Recommendations

Future researchers can benefit from a more in-depth understanding the challenges and opportunities that presented by this study. One significant recommendation is to do testing and assessment with the objective to get more accurate feedback from users, as this study features the importance of independency in areal-world application in determining usefulness. Furthermore, researchers need to more prioritize the importance of user comfort, ease of use, and accessibility, as these aspects have a significant impact on the usefulness of assistive technologies.

Another important part of the study is the data collection procedure. Using well-structured survey methods, interviews, and observational strategies may lead in more precise and accurate results. Future researchers should also be prepared for unexpected challenges, such as technical issues or difference in user input, and devise adaptable approaches to meet them.

Lastly, documentation and analyzation are critical part of a successful research. Future researchers can benefit from comprehensive classifications of findings, barriers, and limitations as they build on previous work and develop their methodologies. Future studies that concentrate on these elements that can increase the reliability, effectiveness, and impact of assistive technology research.

BIBLIOGRAPHY

World Health Organization.(2023). "Blindness and Visual Impairment".

Brown, G. C., Brown, M. M.,& Chaudry, I. (2015). Medical Student and Patient Perceptions of Quality of life associated with vision loss. Canadian Journal of Ophthalmology, 50(3), 217- 224

Eyecan. (2023). The Visually Impaired: Understanding the Challenges and Opportunities

Anderson, G., & Horvath, J.(2004). The Growing burden of Chronic disease in America. Public Health Reports, 119(3), 223-231

Woon Ju Park and Ione Finde (2023). A unified model for cross-modal plasticity and skill acquisition.

Baines, R., Zuliani, F., Chennoufi, N. et al.,(2023). Affordance as Reinforcement Learning theory.

Barry E. Stein, Terrence R. Stanford, and Benjamin A. Rowland. (2021). Multisensory Integration Theory.

Oxford University Press(2020). Ophthalmology.

M. Arun Kumar et al.(2022). Smart Wearable Glove for the Visually Impaired Person as a Third Eye.

Zor, B., Vuruskan, A. (2024). Use Of Assistive Technologies For People With Visual Impairment: Smart Glove Design For Clothing Field.

W. Elmannai, et al. (2017). Sensor-Based Assistive Devices for Visually-Impaired People: Current Status, Challenges, and Future Directions.

M. Caeiro-Rodríguez, I. Otero-González, F. A. Mikic-Fonte, M. Llamas-Nista. (2021). A Systematic Review of Commercial Smart Cane: Current Status and Applications.

Kuriakose et al. (2022). Tools and technologies for blind and visually impaired navigation support: A Review.

Shin, H., et al. (2024). Braille glove design toward interdisciplinary approach for visually impaired people: developing independent sensing design with MXene and embroidery.

Hersch, M. (2023) Wearable Travel Aids for Blind and Partially Sighted People: A Review with a Focus on Design Issues.

Laman, J. (2023). Color Recognition gloves for color blind automation.

Cornelio, P., et al. (2021). Multisensory Integration Theory. Journal of Sensory Studies, 36(2).

Sweller, J., Ayres, P., & Kalyuga, S. (2019). Cognitive Load Theory.

Appendix A

April 4, 2025

MR. SERALDYN P. SAMSON

School Principal II

Limay Senior High School

Duale, Limay, Bataan

Sir:

We, Science, Technology, Engineering, and Mathematics (STEM) students, are presently conducting a study entitled “(COSAR) COLOR SENSING GLOVES WITH AUDIO READ-OUTS FOR VISUALLY IMPAIRED INDIVIDUALS” which is the partial fulfillment in the requirements for the Inquiries, Investigations, and Immersion at Limay Senior High School, Brgy. Duale, Limay, Bataan.

In view of this, may I request for your permission to conduct this study by distributing the survey-questionnaire to selected Limay Senior High School Students at Limay Senior High School.  The data to be collected will be treated with high regards and strict confidentiality.

We are looking forward for your kind consideration and approval.

Thank you very much.

Truly yours,

MATT JOSEPH M. MANAGAYTAY

Team Leader

Noted by:

ROWENA CABRERA

Inquiries, Investigations and Immersion Teacher

SERALDYN P. SAMSON

Teacher III, OIC-Assistant Principal

Approved:

FELISA C. BRAVO, EdD

School Principal III

Appendix B

April 4, 2025

Dear Respondents:

We, STEM 12 - B students, are presently conducting a study entitled which is “(COSAR) COLOR SENSING GLOVES WITH AUDIO READ-OUTS FOR VISUALLY IMPAIRED INDIVIDUALS” which is a partial fulfillment in the requirements for Inquiries, Investigations and Immersion at Limay Senior High School, Brgy. Duale, Limay, Bataan.

In view of this, may we request you to be respondent to this study by completing the enclosed questionnaire. Your prompt and immediate return of this questionnaire will be appreciated. We assure you that personal information will be kept confidential.

We are hoping for your favorable response.

Thank you.

Truly yours,

MATT JOSEPH M. MANAGAYTAY

Team Leader

Noted by:

ROWENA CABRERA

Inquiries, Investigations and Immersion Teacher

SERALDYN P. SAMSON

Teacher III, OIC-Assistant Principal

Approved:

FELISA C. BRAVO, EdD

School Principal III

Appendix C

April 4, 2025

MR. ROMMEL E. ARELLANO

Guidance Counselor

Limay, Senior High School

Duale, Limay, Bataan

Sir:

We, Science, Technology, Engineering, and Mathematics (STEM 12 - B) students, are presently conducting a study entitled “(COSAR) COLOR SENSING GLOVES WITH AUDIO READ-OUTS FOR VISUALLY IMPAIRED INDIVIDUALS” which is the partial fulfillment in the requirements for the Inquiries, Investigation and Immersion at Limay Senior High School, Brgy. Duale, Limay, Bataan.

In view of this, we would like to seek for your assistance in checking the content validity of our survey-questionnaire.

Your positive response regarding this matter is highly appreciated.

Thank you very much.

Truly yours,

MATT JOSEPH M. MANAGAYTAY

Team Leader

Noted by:

ROWENA V. CABRERA

Inquiries, Investigations and Immersion Teacher

Appendix D

Validation Sheet

“(COSAR) COLOR SENSING GLOVES WITH AUDIO READ-OUTS FOR VISUALLY IMPAIRED INDIVIDUALS”

Name of Evaluator__________________________________________

Institution___________________________________________

Highest Educational Degree	___________________________________________

Years in the Present Position	___________________________________________

Note to the Evaluator

Please check the degree of the appraisal on the validity of the items of the questionnaire.

|  |  | 5 | 4 | 3 | 2 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Clarity of the language: The vocabulary level, language structure and conceptual level of the question suit to the level of respondents. |  |  |  |  |  |
| 2 | Presentations/Organizations of the Topics: The items are presented and organized in a logical manner. |  |  |  |  |  |
| 3 | Suitability of Items: The items appropriately present the substance of the research, knowledge, perception, and attitude that are supposed to be measured. |  |  |  |  |  |
| 4 | Adequacy of Purpose: The items present the coverage of the research adequately. The number of questions per area is presented enough of all the questions needed of the research |  |  |  |  |  |
| 5 | Attainment of Purpose: The instrument as a whole fulfils the objectives for which it was constructed. |  |  |  |  |  |
| 6 | Objectivity: The items in the questionnaire are formulated prudently and are free of prejudicial conceptions. |  |  |  |  |  |
| 7 | Scale and Evaluation Rating System: The scale adapted appropriate for the items. |  |  |  |  |  |

Comments and Suggestions:

________________________________________________________________________

________________________________________________________________________

Conforme:

MR. ROMMEL E. ARELLANO

Guidance Counselor

Appendix E

April 4, 2025

MR. ALFREDO C. CABANILLA JR.

Teacher II

Limay, Senior High School

Duale, Limay, Bataan

Sir:

Good day!

We, Science, Technology, Engineering, and Mathematics (STEM 12 - B) students, are presently conducting a study entitled “(COSAR) COLOR SENSING GLOVES WITH AUDIO READ-OUTS FOR VISUALLY IMPAIRED INDIVIDUALS” which is the partial fulfillment in the requirements for the Inquiries, Investigation and Immersion at Limay Senior High School, Brgy. Duale, Limay, Bataan.

In view of this, we would like to seek for your assistance in checking the content validity of our survey-questionnaire.

Your positive response regarding this matter is highly appreciated.

Thank you very much.

Truly yours,

MATT JOSEPH M. MANAGAYTAY

Team Leader

Noted by:

ROWENA V. CABRERA

Inquiries, Investigations and Immersion Teacher

Appendix F

Validation Sheet

“(COSAR) COLOR SENSING GLOVES WITH AUDIO READ-OUTS FOR VISUALLY IMPAIRED INDIVIDUALS”

Name of Evaluator__________________________________________

Institution___________________________________________

Highest Educational Degree	___________________________________________

Years in the Present Position	___________________________________________

Note to the Evaluator

Please check the degree of the appraisal on the validity of the items of the questionnaire.

|  |  | 5 | 4 | 3 | 2 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Clarity of the language: The vocabulary level, language structure and conceptual level of the question suit to the level of respondents. |  |  |  |  |  |
| 2 | Presentations/Organizations of the Topics: The items are presented and organized in a logical manner. |  |  |  |  |  |
| 3 | Suitability of Items: The items appropriately present the substance of the research, knowledge, perception, and attitude that are supposed to be measured. |  |  |  |  |  |
| 4 | Adequacy of Purpose: The items present the coverage of the research adequately. The number of questions per area is presented enough of all the questions needed of the research |  |  |  |  |  |
| 5 | Attainment of Purpose: The instrument as a whole fulfils the objectives for which it was constructed. |  |  |  |  |  |
| 6 | Objectivity: The items in the questionnaire are formulated prudently and are free of prejudicial conceptions. |  |  |  |  |  |
| 7 | Scale and Evaluation Rating System: The scale adapted appropriate for the items. |  |  |  |  |  |

Comments and Suggestions:

________________________________________________________________________

Conforme:

MR. ALFREDO C. CABANILLA JR.

Teacher II

Appendix G

April 4, 2025

MR. ALDRIN I. ESPERIDA

Teacher II

Limay, Senior High School

Duale, Limay, Bataan

Sir:

Good day!

We, Science, Technology, Engineering, and Mathematics (STEM 12 - B) students, are presently conducting a study entitled “(COSAR) COLOR SENSING GLOVES WITH AUDIO READ-OUTS FOR VISUALLY IMPAIRED INDIVIDUALS” which is the partial fulfillment in the requirements for the Inquiries, Investigation and Immersion at Limay Senior High School, Brgy. Duale, Limay, Bataan.

In view of this, we would like to seek for your assistance in checking the content validity of our survey-questionnaire.

Your positive response regarding this matter is highly appreciated.

Thank you very much.

Truly yours,

MATT JOSEPH M. MANAGAYTAY

Team Leader

Noted by:

ROWENA V. CABRERA

Inquiries, Investigations and Immersion Teacher

Appendix H

Validation Sheet

“(COSAR) COLOR SENSING GLOVES WITH AUDIO READ-OUTS FOR VISUALLY IMPAIRED INDIVIDUALS”

Name of Evaluator__________________________________________

Institution___________________________________________

Highest Educational Degree	___________________________________________

Years in the Present Position	___________________________________________

Note to the Evaluator

Please check the degree of the appraisal on the validity of the items of the questionnaire.

|  |  | 5 | 4 | 3 | 2 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Clarity of the language: The vocabulary level, language structure and conceptual level of the question suit to the level of respondents. |  |  |  |  |  |
| 2 | Presentations/Organizations of the Topics: The items are presented and organized in a logical manner. |  |  |  |  |  |
| 3 | Suitability of Items: The items appropriately present the substance of the research, knowledge, perception, and attitude that are supposed to be measured. |  |  |  |  |  |
| 4 | Adequacy of Purpose: The items present the coverage of the research adequately. The number of questions per area is presented enough of all the questions needed of the research |  |  |  |  |  |
| 5 | Attainment of Purpose: The instrument as a whole fulfils the objectives for which it was constructed. |  |  |  |  |  |
| 6 | Objectivity: The items in the questionnaire are formulated prudently and are free of prejudicial conceptions. |  |  |  |  |  |
| 7 | Scale and Evaluation Rating System: The scale adapted appropriate for the items. |  |  |  |  |  |

Comments and Suggestions:

Conforme:

LOVELLA C. ATIENZA

Teacher III

Appendix I

“(COSAR) COLOR SENSING GLOVES WITH AUDIO READ-OUTS FOR VISUALLY IMPAIRED INDIVIDUALS”

Part I: Information About the Proposed Instructional Material and Respondent

Direction: Fill the spaces with your personal information

(THE PARTICIPANTS/RESPONDENTS MAY REQUEST ASSISTANCE FROM THE STAFF)

Name: ______________________________________. (Optional)

Age: ____. (Please specify)

Sex: ____ Male.   ____ Female.            Grade level: ______.

Type of visual impairment:

|  | MYOPIA (nearsighted) |  | HYPEROPIA (farsighted) |
| --- | --- | --- | --- |

Others (please specify): ____________________

Part II: Evaluation Checklist

Direction: Read the statements carefully and put a check (✓) on the column that corresponds to your answer (answer honestly)

ㅤㅤㅤㅤㅤㅤㅤRATINGSㅤㅤㅤㅤㅤㅤㅤㅤ ㅤ DESCRIPTIVE EQUIVALENT

ㅤㅤㅤㅤㅤㅤㅤㅤ    5ㅤㅤㅤㅤㅤㅤㅤㅤㅤ                             Very Agree

ㅤㅤㅤㅤㅤㅤㅤㅤ   4ㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤ         Agree

ㅤㅤㅤㅤㅤㅤㅤㅤ    3ㅤㅤㅤㅤㅤㅤㅤㅤㅤ                   ㅤ Needs improvement

ㅤㅤ ㅤ ㅤ ㅤㅤ ㅤ    2ㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤ    ㅤ         Disagreeㅤ

ㅤㅤㅤㅤㅤㅤ ㅤ ㅤ 1ㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤㅤ       Very Disagree

Arduino Diagram of COSAR Color Sensing Gloves with Audio Readouts for Visually Impaired Individuals

3D Model of COSAR Color Sensing Gloves with Audio Readouts for Visually Impaired Individuals

CURRICULUM VITAE

MANAGAYTAY, MATT JOSEPH MORTA

CURRENT RESIDENCE: St. Francis II, Limay, Bataan

CONTACT NUMBER: 09157812717

EMAIL ADDRESS: anoishida01@gmail.com

PERSONAL INFORMATION

SEX:				Male

DATE OF BIRTH: 		January 11, 2007

PLACE OF BIRTH:		Limay , Bataan

AGE: 				18 years old

HEIGHT:			5’5

WEIGHT:			75 kgs

CIVIL STATUS: 		Single

RELIGION: 			Roman Catholic

NATIONALITY: 		Filipino

MOTHER TONGUE: 	Tagalog

OTHER LANGUAGE: 	English

EDUCATIONAL BACKGROUND

SENIOR HIGH SCHOOL:	Limay Senior High School

Duale, Limay, Bataan

S.Y 2025

JUNIOR HIGH SCHOOL: 	Limay National High School

Duale, Limay, Bataan

S.Y 2023

PRIMARY: 			St. Francis II Elementary School

National Road, Limay, Bataan

S.Y 2019

CURRICULUM VITAE

LUMANTAO, ANTHONY ADLAWAN

CURRENT RESIDENCE: St. Francis, Limay, Bataan

CONTACT NUMBER: 09684628626

EMAIL ADDRESS: anthonylumantao.dev@gmail.com

PERSONAL INFORMATION

SEX:				Male

DATE OF BIRTH: 		December 20, 2007

PLACE OF BIRTH:		Toledo City, Cebu

AGE: 				18 years old

HEIGHT:			5’5

WEIGHT:			59 kgs

CIVIL STATUS: 		Single

RELIGION: 			Roman Catholic

NATIONALITY: 		Filipino

MOTHER TONGUE: 	Tagalog

OTHER LANGUAGE: 	English

EDUCATIONAL BACKGROUND

SENIOR HIGH SCHOOL:	Limay Senior High School

Duale, Limay, Bataan

S.Y 2025

JUNIOR HIGH SCHOOL: 	Limay National High School

Duale, Limay, Bataan

S.Y 2023

PRIMARY: 			St. Francis Elementary School

St. Francis II, Limay, Bataan

S.Y 2019

CURRICULUM VITAE

DE GUZMAN, YSHA MAE VALDERAMA

CURRENT RESIDENCE: St. Francis II, Limay, Bataan

CONTACT NUMBER: 09684628585

EMAIL ADDRESS: yshamae7197@gmail.com

PERSONAL INFORMATION

SEX:				Female

DATE OF BIRTH: 		July 19, 2007

PLACE OF BIRTH:		Balanga City, Bataan

AGE: 				17 years old

HEIGHT:			5’2

WEIGHT:			45 kgs

CIVIL STATUS: 		Single

RELIGION: 			Roman Catholic

NATIONALITY: 		Filipino

MOTHER TONGUE: 	Tagalog

OTHER LANGUAGE: 	English

EDUCATIONAL BACKGROUND

SENIOR HIGH SCHOOL:	Limay Senior High School

Duale, Limay, Bataan

S.Y 2025

JUNIOR HIGH SCHOOL: 	Limay National High School

Duale, Limay, Bataan

S.Y 2023

PRIMARY: 			BLISS Elementary School

Roman Highway, Limay, Bataan

S.Y 2019

CURRICULUM VITAE

GRACELA, RUSSEL VIEN ARRIOLA

CURRENT RESIDENCE: Duale, Limay, Bataan

CONTACT NUMBER: 09563379832

EMAIL ADDRESS: russelgracela74@gmail.com

PERSONAL INFORMATION

SEX:				Male

DATE OF BIRTH: 		March 16, 2007

PLACE OF BIRTH:		Balanga City , Bataan

AGE: 				18 years old

HEIGHT:			5’11

WEIGHT:			62 kgs

CIVIL STATUS: 		Single

RELIGION: 			Latter Day SaintRoma

NATIONALITY: 		Filipino

MOTHER TONGUE: 	Tagalog

OTHER LANGUAGE: 	English

EDUCATIONAL BACKGROUND

SENIOR HIGH SCHOOL:	Limay Senior High School

Duale, Limay, Bataan

S.Y 2025

JUNIOR HIGH SCHOOL: 	General Emillio Aguinaldo National High School

Imus, Cavite

Duale, Limay, Bataan

S.Y 2023

PRIMARY: 			Mambog Elementary School

Bacoor, Cavite

S.Y 2019

CURRICULUM VITAE

VISBAL, EUGENE KIMBERLY BANZUELO

CURRENT RESIDENCE: Kitang I, Limay, Bataan

CONTACT NUMBER: 09496510796

EMAIL ADDRESS: eugenevisbal688@gmail.com

PERSONAL INFORMATION

SEX:				Female

DATE OF BIRTH: 		November 16, 2006

PLACE OF BIRTH:		Kitang I, Limay, Bataan

AGE: 				18 years old

HEIGHT:			5’2

WEIGHT:			55 kgs

CIVIL STATUS: 		Single

RELIGION: 			Roman Catholic

NATIONALITY: 		Filipino

MOTHER TONGUE: 	Tagalog

OTHER LANGUAGE: 	English

EDUCATIONAL BACKGROUND

SENIOR HIGH SCHOOL:	Limay Senior High School

Duale, Limay, Bataan

S.Y 2025

JUNIOR HIGH SCHOOL: 	Limay National High School

Duale, Limay, Bataan

S.Y 2023

PRIMARY: 			Kitang Elementary School

National Road, Limay, Bataan

S.Y 2019

CURRICULUM VITAE

BASBAS, LARIANNE JOAEL DIEGO

CURRENT RESIDENCE: Duale, Limay, Bataan

CONTACT NUMBER: 09921499192

EMAIL ADDRESS: lariannediego@gmail.com

PERSONAL INFORMATION

SEX:				Female

DATE OF BIRTH: 		October 14, 2007

PLACE OF BIRTH:		Limay, Bataan

AGE: 				17 years old

HEIGHT:			5’0

WEIGHT:			45 kgs

CIVIL STATUS: 		Single

RELIGION: 			Roman Catholic

NATIONALITY: 		Filipino

MOTHER TONGUE: 	Tagalog

OTHER LANGUAGE: 	English

EDUCATIONAL BACKGROUND

SENIOR HIGH SCHOOL:	Limay Senior High School

Duale, Limay, Bataan

S.Y 2025

JUNIOR HIGH SCHOOL: 	Limay National High School

Duale, Limay, Bataan

S.Y 2023

PRIMARY: 			Duale Elementary School

Duale, Limay, Bataan

S.Y 2019